## Drums
Harlow & Pike Electrical Ltd: CABLE DRUM REGISTER
Job HP-2417, Northgate WTW Filter Block B. Stock at 3 September 2026.
Drum No | Mfr Drum No | Description | Drum Length (m) | Balance (m) | Location | Supplier | Remarks
DR-01 | HX-26-41873 | 4 core 185mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 250 | 250 | Laydown A | Anixter UK
DR-02 | HX-26-41102 | 4 core 95mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 250 | 250 | Laydown A | Anixter UK
ST-0412 | BC-25-18810 | 4 core 35mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 250 | 176 | Laydown A | Ex Hillcrest job | Part drum from Hillcrest
DR-03 | HX-26-40977 | 4 core 16mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 500 | Laydown A | Anixter UK
DR-04 | DC-26-77120 | 4 core 2.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 500 | Filter gallery | Edmundson
DR-05 | DC-26-77121 | 4 core 2.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 500 | Filter gallery | Edmundson
ST-0388 | DC-25-60412 | 4 core 2.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 214 | Store | Ex Hillcrest job | Part drum from Hillcrest
OC-0391 |  | 4 core 2.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 38 | 38 | Store | Ex Hillcrest job | Offcut
DR-06 | HX-26-42001 | 12 core 1.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 1000 | 1000 | Filter gallery | Anixter UK
DR-07 | DC-26-77305 | 7 core 1.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 500 | Filter gallery | Edmundson
DR-08 | DC-26-77306 | 7 core 1.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 500 | Filter gallery | Edmundson
ST-0402 | DC-25-61177 | 7 core 1.5mm² Cu/XLPE/SWA/LSZH 0.6/1kV | 500 | 262 | Store | Ex Hillcrest job | Part drum from Hillcrest
DR-09 | BL-26-09931 | 2 pair 1.0mm² Cu/PVC/OS/SWA/LSZH 300/500V | 1000 | 1000 | Store | Anixter UK